CHURCH OF SCOTLAND

GENERAL TRUSTEES

Manse Condition Schedule

Congregation:		……………………………………….

Address of manse:	……………………………………….

……………………………………….

……………………………………….

INDEX

| Section | Item | Page(s) |
| --- | --- | --- |
| 1 | Introduction and Appendices | 3-9 |
| 2 | Summary of Manse | 10 |
| 3 | White Goods and Furnishings | 11 |
| 4 | Exterior (condition to be reviewed annually) | 12-14 |
| 5 | Interior (condition to be reviewed annually) | 15-16 |
| 6 | Safety Inspection (condition to be reviewed annually) | 17 |
| 7 | Signatures and Attestations | 18 |
| 8 | Contact Details | 19 |

SECTION 1

INTRODUCTION

For the Completion of the Manse Condition Schedule

The Manse Condition Schedule is to be considered as the principal record of the condition and record of maintenance on manses.  The General Assembly passed legislation in 2007 as part of a joint report by the General Trustees and the Ministries Council supported by Regulation 105, introducing the Manse Condition Schedule.

The Manse Condition Schedule must be completed on an annual basis and presented to Presbytery as part of the Annual Inspection of Records.

The creation of a Manse Condition Schedule, together with an updated version of Guidelines for Manses (Appendix 1) and a set of Regulations for Manses (Appendix 2), have been introduced in order to:

- assist congregations in keeping up to date with the maintenance and repair of manses;

- help bring about a consistency of standard across the congregations of the Church;

- protect the value of the manse as one of the most significant material assets of the Church;

- ensure that the manse provides an environment which is conducive to being a place of work and residence;

- take account of introducing as many energy efficiencies as possible to the manse of the Charge.

Congregations are reminded that presbyteries may not consider the call to a charge where the manse is not of a suitable standard and where the Manse Condition Schedule shows unacceptable defects in the condition of the manse.  In such cases, the vacancy process will be sisted.

Congregations should also note that, at times when the Manse Condition Schedule is being updated, presbytery will have the authority to instruct the congregation as a matter of priority to undertake essential repairs for upgrading.

Congregations are further reminded of the responsibility to plan and budget for carrying out work as identified in the Schedule and, in cases where local funds are not readily available, they may approach the General Trustees for assistance to bring the property up to standard.

You are invited to complete the initial details in Section 2 in order to provide a general description of the manse of the charge and to use this page as a means of clearly defining areas of responsibility in relation to aspects of upkeep which may fall to the congregation or the minister.

On completion of the second section of the Schedule, ie the Current Condition Survey, the congregation will have in its hands a record of work completed and a schedule of work due to be carried out.  It is hoped that this document will alleviate any tensions that may arise relating to manse upkeep.

Finally, when the Schedule is completed, it should be signed, as detailed, on the final page and retained as a tool for the Annual Review by the Charity Trustees of the repair and maintenance of the manse.

SECTION 1

Church representatives carrying out Manse inspections, whether on behalf of the Charity Trustees of the Congregation or on behalf of the Presbytery, should:

- ensure that the visit is arranged at a time which is convenient to the minister and his/her family;

- ensure that sufficient time is allocated in order both to complete the inspection and to discuss any matters which have to be recorded in the Schedule:

- remember that, as well as looking after the interests of the property which belongs to the congregation, they are, first and foremost, guests in the minister’s home and should treat the minister and his/her family with the utmost respect, and undertake the visit with good manners and friendliness.

SECTION 1

APPENDIX 1

GUIDELINES FOR MANSES

Accommodation

So far as the level of accommodation is concerned, the General Assembly has reaffirmed that a Manse should normally have not less than three public rooms, four bedrooms and a garage.  However, the General Trustees will consider sympathetically requests to provide accommodation which is more suitable to the needs of an individual minister and his/her family so long as the congregation is able also to retain or return to providing a Manse of recommended proportions should circumstances change.

It Shall Be Desirable to Provide

- A fridge, washing machine, tumble dryer and dishwasher

- Security systems, as appropriate

- Double glazing and loft insulation

- Carpets and floor coverings in all rooms

- Blinds or curtains in the study and the public rooms

Many of these are integral in modern housing, but the Manse Condition Schedule should establish which of these facilities belong to and are the responsibility of the congregation.

Financial Considerations

It is recognised that not every manse will immediately have these desirable provisions and a Board may therefore need to plan a programme to bring its manse up to standard over a period of several years.  For Congregations with holdings in the Consolidated Fabric Fund, costs will be recoverable from capital or revenue.  Financial assistance may also be available from the Central Fabric Fund by way of grants and loans.

A recommended decoration programme for a standard 7-apartment Manse is as follows:

| Year 1 | Outside Paintwork | Year 6 | Outside Paintwork |
| --- | --- | --- | --- |
| 2 | Vestibule, hall and stairway | 7 | Bedroom 2 |
| 3 | Bedroom 1 | 8 | Dining Room and Kitchen |
| 4 | Kitchen, Utility Room and Study | 9 | Bathroom, Toilet and Bedroom 4 |
| 5 | Lounge | 10 | Bedroom 3 |

Further Notes

Guidelines are available from the General Trustee’s Business Support Department on:

- Building a New Manse

- Acquisition and Sale of Manses

Information on allowances are also available from the Faith Nurture Forum on:

- Young Ministers Furnishing Loans

- Removal and Disturbance Allowances

SECTION 1

APPENDIX 2

REGULATIONS FOR MANSES

The Basic Position

- A Minister’s remuneration comprises both a stipend and a Manse.  Accordingly, before a Minister is inducted to a vacant Charge, Presbytery has to be satisfied that there is a suitable Manse within the Parish or in close proximity and that all work needed to make it so has been carried out.

- A Minister has the right to live in the manse and a corresponding duty to occupy it.

- Every Congregation has a duty through its Charity Trustees to provide a wind and watertight Manse which is habitable and to keep it in a good state of repair and decoration during its occupation by the Minister and family. The Minister should not have to spend his or her own stipend to achieve this.

- It is important that the manses provided by the congregation for the ministers and their families are also safe, free from harm and conform to the legal minimum repairing standard and tolerable standards in line with the statutory obligations which are deemed a suitable and reasonable benchmark for what is considered to be a habitable property.

- The legal obligations for the Health and Safety of the manse building and any associated lands remain the responsibility of the Charity Trustees. And as such any ad-hoc Health and Safety concerns raised by the minister or their families to the associated charity trustees must be fully investigated and remedied or temporarily controlled by the fabric committee until professional repairs can be arranged and carried out.

- A Minister should equally treat the Manse building, including fittings and fixtures with reasonable care and consideration and, where these are provided by the local Congregation, must leave them in the Manse as the property of the Congregation’s charity Trustees.

- The minister should immediately report any building defects or health and safety concerns about the interior or exterior fabric and condition of the property, this includes the safety and use of any fitted or supplied electrical or gas appliances and any other items supplied by the charity trustees and allow for mutually agreed access to the manse for investigation and repairs to be carried out.

- Presbyteries must ensure that Manses are inspected at least once every year by the Congregational Fabric Committee, that the Manse Condition Schedule is annually reviewed and that both necessary repairs and agreed annual maintenance and decoration have been undertaken.

- In order to facilitate this process which aims to ensure a continuation of the manse condition, the Minister should allow for suitable access arrangements to be made for this annual scheduled inspection, maintenance and decoration to be carried out.

- The Board must recognise its responsibility to have in place a rota for the systematic internal and external decoration of the manse.  (A recommended schedule is shown as part of the Manse Guidelines).

The Regulatory Essentials

In light of modern minimum standards and basic expectations of what constitutes a comfortable, acceptable and working environment, it is appropriate for every congregation to provide a Manse which is:

- Wind and Water tight

- The structure and exterior (like the walls and roof) are in a reasonable condition

- The installations for water supplies are lead-free, gas, electricity, sanitation and heating are in a reasonable state of repair and in good working order

- Any fixtures, fittings or appliances provided by the congregation (like carpets, light fittings and household equipment) are maintained in a reasonable state of repair and condition.

- Any furnishings provided by the congregation can be used safely for the purpose they were designed and conform to fire safety regulations.

- A modern and compliant electrical wiring system and consumer unit with RCD protection and zoned isolation capacity and sufficient electrical sockets and switches fitted in all rooms.

- A kitchen with cooking facilities and sufficient work surfaces ventilation and storage.

- Bathroom and sanitary ware; at least one bathroom should have an efficient shower and there should be a separate toilet and washbasin for the use of visitors

- Proper lighting in every part including sufficient exterior lighting to aid security and safe access and egress from the manse

- Carbon monoxide detectors fitted within 1-2 meters of each gas fired appliance including the boiler system

- Fitted with suitable interlinked fire detection devices – one smoke alarm in the living room, one in every hall or landing and a heat detecting alarm in every kitchen.

- A fire blanket and extinguisher in the kitchen all compliant with current regulations

- Annual gas safety check on gas appliances carried out by a registered gas safe engineer and annual maintenance and servicing arrangements should be in place for all gas appliances.

- Electrical safety inspections are carried out by a qualified electrician at least once every five years.

- Asbestos (If Applicable) An asbestos register detailing the location, condition and schedule of monitoring every 12 months if the asbestos is considered to be located in a safe and stable location of the manse e.g. Roof and attic spaces or below flooring. Any asbestos or suspected ACM in areas considered likely to create a risk of exposure to the minister and their family or private tenants should be referred to a professional asbestos contractor for advice on encapsulation or removal recommendations.

- Adequate storage facilities for garden equipment, bicycles etc

Habitation

As guidance for the congregation a manse is not deemed habitable to live in if it:

- has problems with rising or penetrating damp

- is not structurally stable (for example, it might be subsiding)

- does not have enough ventilation, natural and artificial light or heating

- is not insulated well enough insulation in the loft space is measured at below the 100mm requirement (it should be 270mm) as a suitable guideline

- does not have an acceptable fresh water supply, or a sink with hot and cold water

- does not have an indoor toilet, a fixed bath or shower, and a wash basin with hot and cold water

- does not have a good drainage and sewerage system

- does not have an electrical that meets safety regulations

- does not have a proper entrance for access and egress

- has no cooking facilities and a suitable kitchen area for the safe preparation and storage of food.

For the avoidance of doubt it is essential that the congregation shall:

- Take responsibility for the completion of a Manse Condition Schedule annually, at the onset of a vacancy and at the completion of major works/repairs.

- Be responsible for the upkeep of the grounds where these extend beyond the bounds of a reasonable garden surrounding the property.  Otherwise, the minister shall be responsible, where the garden is of normal domestic proportions, for maintaining the garden and grounds in a neat and tidy condition.  (The parameters for this will be set out in the Manse Condition Schedule).

- Budget to meet the costs of the agreed schedule of redecoration and repair.

PROCEDURES TO BE FOLLOWED IN RELATION TO BUILDING ALTERATIONS AND ASSOCIATION WORKS ON MANSES

Local Authority Building Control Consent

Repairs do not require a Building Warrant or Planning Consent.  A ‘repair’ might be defined as the restoration of existing building fabric.  In the majority of cases involving alterations to the fabric of a building, a BUILDING WARRANT is required.  There are exceptions; if in doubt, contact the local authority.

Planning and Listed Building Consent

Alterations to the EXTERIOR of a building will in many instances require Planning Consent and if the building is listed, Listed Building Consent also.  However, some works will fall under what is known as Permitted Development, so if in doubt, contact the local planning authority.

Acceptance of Quotations from Contractors and Suppliers

There have been instances where disputes over payment have arisen on church property and the local church officer has personally been targeted by the aggrieved party.  In order to avoid this, always accept on behalf of your Kirk Session, Congregational Board or whoever.  The qualification will avoid the accepting party from being personally liable for the non-payment of any accounts, for whatever reason.

Fire Risk Assessment

The law, at the present, 2022, does not require a Risk Assessment to be prepared for residential properties.

Work at Heights Regulations

The Health & Safety Executive have, over recent years, raised fines against instructing parties where Work at Height has been undertaken, off ladders or scaffold, and where there has been injury resulting from falls.  Church Officers and other instructing parties are advised to obtain from the contractor both a Method Statement and a Risk Assessment relating to the works prior to the work being started.

Legionella

The risk of Legionella in manses is low and largely depends on how water is supplied and stored in the building and distributed to the taps, toilets, showers and baths. The congregation should ensure before any occupancy of the manse that the water storage tanks usually found in the attic spaces are suitably covered and do not contain any sludge, animal waste or bacterial remains.

During prolonged periods of vacancy, it is recommended that 3 basic control measures are taken during the routine inspection of the manse to minimise stagnation and any build-up of bacteria within the water system even if the perceived risk of legionella is considered low.

- All taps and showers should be run for two continuous minutes at least once a week

- Hot water should reach a temperature of at least 60 C in storage (Boiler)

- Cold water should be below 20C

- A record of any water checks should be recorded and kept as part of the water management plan for your vacant manse to demonstrate adequate mitigations and control for legionella hazards.

Energy Performance Certificate

Every manse needs to have an Energy Performance certificate (EPC) carried out under the instructions of the General Assembly 2014. These have a life span of ten years and this schedule seeks information on when the EPC was carried out.

SECTION 2

SUMMARY OF MANSE

| Name of Charge: |  |
| --- | --- |
| Address of Property: |  |
| Date of Construction: |  |
| Historic Environment Scotland Listing: |  |
| Type of Property, eg detached, semi, etc |  |
| Number of public rooms |  |
| Number of bedrooms |  |
| Number of bath/shower rooms |  |
| Number of cloakrooms/toilets |  |
| Study |  |
| Kitchen |  |
| Utility Room |  |
| Conservatory |  |
| Garage and Outhouses |  |
| Central Heating Fuel Type |  |
| Insurance Cover (Buildings) Indicate where certificate retained |  |
| Energy Performance Certificate |  |

Date prepared   ……………………………………………

SECTION 3

(to be altered ANNUALLY as appropriate)

Please list any additional items which are provided by the congregation ie white goods, any floor coverings and curtains which belong with the property, alarm, system, smoke alarms, etc.

WHITE GOODS

| Item | Yes/No | Owned by Congregation | Owned by Minister | What rooms? |
| --- | --- | --- | --- | --- |
|  |  | (tick as appropriate) |  |
| Freestanding Cooker |  |  |  | N/A |
| Built-in Oven/Hob |  |  |  |  |
| Washing Machine |  |  |  |  |
| Microwave |  |  |  |  |
| Fridge |  |  |  |  |
| Freezer |  |  |  |  |
| Dishwasher |  |  |  |  |
| Floor coverings |  |  |  |  |
| Curtains |  |  |  |  |

PROPERTY OWNED BY (delete as appropriate):

| General Trustees | Local Trustees |
| --- | --- |

| Location of title deeds |  |
| --- | --- |

SECTION 4

(to be inspected ANNUALLY)

Date of Inspection/revision	……………….……..

| Exterior | Current Condition | Works Carried out within the last Twelve Months and works proposed | Cost of Works |
| --- | --- | --- | --- |
| Roof Coverings |  |  |  |
| Rainwater Goods: Gutters, Downpipes and Rhones etc |  |  |  |
| Masonry (including render finishes) |  |  |  |
| External woodwork (excluding doors and windows) |  |  |  |
| Drains |  |  |  |
| Windows/Doors |  |  |  |
| External painting |  |  |  |
| Garden and Grounds |  |  |  |
| Garage |  |  |  |
| Outhouses |  |  |  |

SECTION 4

(to be inspected ANNUALLY)

Date of Inspection/Revision      …………………..

| Services | Current Condition | Works Carried out within the last Twelve Months and Works Proposed | Cost |
| --- | --- | --- | --- |
| Lighting/Power |  |  |  |
| Central Heating - Type of System? |  |  |  |
| Insulation |  |  |  |
| Water Storage Tank (Internal loft space) |  |  |  |
| Septic Tank (external if applicable) |  | Last emptied …………… |  |

SECTION 4

(to be inspected ANNUALLY)

Date of Inspection/Revision      …………………..

| Damp | Yes/No | Location of Damp | Remedial works proposed |
| --- | --- | --- | --- |
| Are there any signs of damp in the manse? | Yes / No* |  |  |
| If so, is this Rising damp Penetrating damp Condensation Don’t know the cause | Yes / No* Yes / No* Yes / No* ** |  |  |

*  	Delete as appropriate

**   	Tick if appropriate

Note

Rising damp rarely extends more than 1200mm (4 feet) above the ground.  Evidence of damp above this level is almost always lateral penetrating damp.  Condensation is an increasing problem, both with older and new buildings.  This is sometimes more difficult to detect in relation to cause.

If you need assistance in determining the nature of the cause of damp, then contact the General Trustees (contact details on final page).

SECTION 5

(to be inspected ANNUALLY)

Date of Inspection/Revision    …………………..

| Interior Room Description | Current Condition | Works Carried out within the last Twelve Months and Works Proposed | Cost |
| --- | --- | --- | --- |
| Entrance Porch and Hall |  |  |  |
| Stairway |  |  |  |
| Lounge |  |  |  |
| Study |  |  |  |
| Dining Room |  |  |  |
| Kitchen |  |  |  |
| Utility Space |  |  |  |
| Bedroom 1 |  |  |  |
| Ensuite bathroom/ shower room (for bedroom 1) |  |  |  |
| Bedroom 2 |  |  |  |
| Ensuite bathroom/ shower room (for bedroom 2) |  |  |  |
| Bedroom 3 |  |  |  |
| Ensuite bathroom/ shower room (for bedroom 3) |  |  |  |
| Bedroom 4 |  |  |  |

SECTION 5

(to be inspected ANNUALLY)

Date of Inspection/Revision	…………………..

| Room Description | Current Condition | Works Carried out within the last Twelve Months and Works Proposed oposed | Cost |
| --- | --- | --- | --- |
| Ensuite bathroom/ shower room (for bedroom 4) |  |  |  |
| Bathroom |  |  |  |
| Cloakroom/WC |  |  |  |
| Conservatory |  |  |  |
| Attic |  |  |  |
| Other Rooms: |  |  |  |

SECTION 6

(to be inspected ANNUALLY)

Date of Inspection/Revision   …………………….

| Safety Inspection | Yes/No *Delete as appropriate* | Gas Appliances/Oil Appliances |
| --- | --- | --- |
| Is there Mains or LPG Gas in the property? | *Yes/No |  |
| If so, has it been certified by a qualified engineer within the last 12 months? | *Yes/No | Date of last test ………………….. |
| Is there a Carbon Monoxide alarm located at all Gas fired appliances? | *Yes/No |  |
| Is there an oil fired boiler or stove? | *Yes/No |  |
| Has it been serviced within the last 12 months? | *Yes/No | Date of last test ………………….. |
| Are there interlinked smoke alarms on all floors – and an interlinked heat detector in the kitchen area? | *Yes/No |  |
| Fire extinguishers – if present, ensure correct type installed. Check with local Fire Safety Officer. | * Yes/No |  |
| P A T Testing | * Yes/No | Date of last test ………………….. |
| Is there suspected or confirmed asbestos at the property? | * Yes/No | Date of last inspection: ………….. |

SECTION 7

OFFICE BEARERS’ SIGNATURES

Signature	………………………………………………….…	(Minister / Interim Moderator)

Date	………………………………………………..…..

Signature	…………………………………………..………..	(Fabric or Property Convener/

Session Clerk / Treasurer)

Date	………………………………………………..…..

Signature	………………………………………………..….	(Presbytery Clerk or

Property Convener)

Date	……………………………………………….…..

Inspection carried out by:

Signature	…………………………………………………

Designation	…………………………………………………

Date		………………………………………………...

SECTION 8

CONTACT DETAILS

Should you have any queries or require further information, please contact a member of staff as indicated below.

General Trustees:

FAO: Mr Brian Waller, Head of Policy and Legislation

E-mail:  gentrustees@churchofscotland.org.uk

FAO: Mr Mo D’souli, Health and Safety Adviser

Email: gentrustees@churchofscotland.org.uk

FAO: Mr Robert Speedie, Fire Safety Adviser

Email: gentrustees@churchofscotland.org.uk

Faith Nurture Forum:

FAO: Rev Scott Shackleton, Head of Faith Action Plan

E-mail:  sshackleton@churchofscotland.org.uk

Church of Scotland Offices

121 George Street, EDINBURGH EH2 4YN

Tel: 0131 225 5722